## Sheet1
NO. | NAMA MESIN / ALAT | NO. INVENTARIS | NAMA RUANGAN | MERK | KET
197 | HVAC Zona 1 | 091/MFG/TK/AC/II/12 | Gedung Steril Zona 1 | York 12.5 PK
198 | HVAC Zona 2 | 092/MFG/TK/AC/II/12 | Gedung Steril Zona 2 | York 20 PK
199 | HVAC Zona 3 | 093/MFG/TK/AC/II/12 | Gedung Steril Zona 3 | York 30 PK
200 | HVAC Zona 4 | 094/MFG/TK/AC/II/12 | Gedung Steril Zona 4 | York 10 PK
201 | HVAC Zona 5 | 095/MFG/TK/AC/II/12 | Gedung Steril Zona 5 | York 25 PK
202 | HVAC | 109/MFG/TK/AC/IV/18 | Gedung Produksi Unit 1 Steril Ekspansi | York 15 PK
203 | HVAC Zona 1 | 001/MFG/TK/AC/XII/09 | Gedung Unit 1 | YIDX 400 290004 15 PK
204 | HVAC Zona 2 | 002/MFG/TK/AC/XII/09 | Gedung Unit 1 | YIDX 350 280007 10 PK
205 | HVAC Zona 12 Ekspansi | 089/MFG/TK/AC/II/12 | R. Ekspansi 1 Gedung Unit 1 | York 10 PK YVC 100A35CG
206 | HVAC Zona 13 Ekspansi | 090/MFG/TK/AC/II/12 | R. Ekspansi 2 Gedung Unit 1 | York 10 PK YVC 100A35CG
207 | HVAC Zona 1.2 | 104/MFG/TK/AC/III/16 | Gedung Unit 1 | YICA 100 Kapasitas 10 PK Merk ITU
208 | HVAC Zona 2.2 | 105/MFG/TK/AC/III/16 | Gedung Unit 1 | YICA 100 Kapasitas 10 PK Merk ITU
209 | HVAC Zona 3 | 108/MFG/TK/AC/V/17 | Gedung Produksi Unit 1 Ekspansi | ITU 30 PK YICA 150 3/8" 2Row
210 | HVAC Zona III | 003/MFG/TK/AC/XII/09 | Gedung BLP | YICA 400 30 PK
211 | HVAC Zona 11 | 160/MFG/TK/AC/10 | Gedung Unit 2 Zona 11 | 5 PK Merk. Prosys
212 | HVAC Zona 1 | 156/MFG/TK/AC/XII/18 | RH Rendah Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
213 | HVAC Zona 2 | 157/MFG/TK/AC/XII/18 | Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
214 | HVAC Zona 3 | 158/MFG/TK/AC/XII/18 | Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
215 | HVAC Zona 4 | 159/MFG/TK/AC/XII/18 | Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
216 | HVAC Zona 5 | 114/MFG/TK/AC/XII/18 | Kemas Sekunder Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
217 | HVAC Zona 6 | 115/MFG/TK/AC/XII/18 | R. Sampling Gedung Produksi Unit 2 Baru | Merk. Tica Ex. Baolin
218 | HVAC Zona 1 | 004/MFG/TK/AC/XII/09 | Gedung Unit 3 | York 300 (30 PK)
219 | HVAC Zona 3 | 005/MFG/TK/AC/XII/09 | Gedung Unit 3 | Yica 100 (10PK)
220 | HVAC Zona 2 | 119/MFG/TK/AC/I/19 | Gedung Produksi Unit 3 Ekspansi | Merk. Tica Ex. SHP
221 | HVAC 1.1 | 096/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 25 PK (12,5 PK x 2)
222 | HVAC 1.2 | 097/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 25 PK (12,5 PK x 2)
223 | HVAC 1.3 | 098/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 25 PK (12,5 PK x 2)
224 | HVAC 1.4 | 099/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 2PK + 1 PK
225 | HVAC 1.5 | 100/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 12,5 PK
226 | HVAC 1.6 | 101/MFG/TK/AC/VI/13 | Gedung Unit 4 | Tamura 25 PK (12,5 PK x 2)
227 | HVAC | 176/MFG/TK/AC/VIII/20 | Gedung Unit 4 Lantai 2 (Ekspansi) | Type Air Volume 28000 CMH Cooling Capacity 180 kw Brand TIANJIA Including G4, F8, H13 Filter, Cooler & Heating
228 | HVAC Tamura | 103/MFG/TK/AC/VI/13 | Black (Kemas Sekunder) Unit 4 | 12,5 PK
229 | HVAC Zona 1 | 154/MFG/TK/AC/10 | Gedung Unit 5 | 20 PK Merk York
230 | HVAC Zona 2 | 155/MFG/TK/AC/10 | Gedung Unit 5 | 20 PK Merk York
231 | HVAC Zona 1 | 116/MFG/TK/AC/I/19 | Lab. Mikro Gedung Office | Merk. Tica Ex. Baolin
232 | HVAC Zona 2 | 117/MFG/TK/AC/I/19 | Lab. Mikro Gedung Office | Merk. Tica Ex. Baolin
233 | HVAC Zona 3 | 118/MFG/TK/AC/I/19 | Lab. Mikro Gedung Office | Merk. Tica Ex. Baolin
236 | HVAC | 108/MFG/TK/AC/V/17 | Gedung Produksi Unit 1 | 30 PK Merk. ITU
237 | Dehumidifier | 109/MFG/TK/AC/IV/23 | R. Cetak 1 & R. Cetak 3 Unit 4 | Munters MLT 1400 Dryair 1400 m³/hr Power 8,3 Kw / 3Ph/ 380v
239 | AHU - Zona 1 | 162/MFG/TK/HVAC/X/23 | Produksi IOT Ex. Basement Unit 8 | FE 03.144 / 8 + H / 710 PF / 11 VSD 121,11 kW SN : W23104000034070014
240 | AHU - Zona 2 | 163/MFG/TK/HVAC/X/23 | Produksi IOT Ex. Basement Unit 8 | FE 02.108 / 5 / 450 PF / 5.5 VSD 58,56 kW SN : W23104000024070003
241 | Tanki Raw Water 1 | 005/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | -
242 | Tanki Raw Water 2 | 006/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | -
243 | Iron Manganese Filter | 010/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | FH-16
244 | Activated Carbon Filter | 011/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | FA-16
245 | Mix Bed | 012/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | MB 1472
246 | Konduktivity Meter | 014/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | Myron - L, 014123
247 | Konduktivity Meter | 015/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | Myron - L, 014124
248 | Tanki Penampungan DM 1 | 016/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | SS 316 kap 5 m3
249 | Tanki Penampungan DM 2 | 017/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | SS 316 kap 5 m3
250 | Tanki Penampungan DM 3 | 018/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | SS 316 kap 5 m3
251 | Unit Reverse Osmosis | 019/MFG/TK/PW/XII/09 | Ruang Pengolahan Purified Water Southern | CF-24
252 | Tanki Distribusi | 021/MFG/TK/PW/XII/09 | Teknik | SS 316 kap 5 m3
253 | Tanki Distribusi WFI | 029/MFG/TK/WFI/III/10 | Ruang Pengolahan WFI | Berkat Air Hidup SS 316 kap 2 m3
254 | PSG | 030/MFG/TK/WFI/III/10 | Ruang Pengolahan WFI | PSG
255 | Destiller | 030/MFG/TK/WFI/III/10 | Ruang Pengolahan WFI | Destiller
256 | Tanki Solar 10.000 Liter | 032/MFG/TK/SLR/X/11 | Depan GK | -
257 | PW Generator Kapasitas 1 Ton | 051/MFG/TK/PW/VII/14 | Ruang Pengolahan Purified Water Highfine | Highfine
258 | Storage Tank Kapasitas 10 m³ | 033/MFG/TK/PW/VIII/16 | Ruang Pengolahan Purified Water Highfine | Dayu Tech
259 | PW Generator Kapasitas 3000 Liter / Jam | 036/MFG/TK/PW/VIII/17 | Ruang Aqua Farma Baru
260 | Tangki Stainless Kapasitas 1000 Liter | 045/MFG/TK/PW/VIII/18 | Unit 1 Steril
261 | Tangki Toren 5000 Liter | 047/MFG/TK/PW/VIII/19 | Raw Water 1 Pengolahan Air PW Lama (Southern)
262 | Destiller | 048/MFG/TK/WFI/VI/18 | Steril Unit 1
263 | Tangki WFI 4 Ton | 049/MFG/TK/WFI/VI/18 | Steril Unit 1
264 | Mesin EDI Kapasitas 3000 Liter | 052/MFG/TK/PW/VII/22 | Ruang Aqua Farma | Model IP - LXM30Z-5 Part W3T17312 Serial No SP222658
265 | Mesin EDI Kapasitas 1000 Liter | 053/MFG/TK/PW/VII/22 | Ruang Aqua Farma | Model IP - LXM10Z-5 Part W3T17291 Serial No SP221753
266 | Flotech AC Pump FT170 (Pompa) | 017/MFG-TK/POMP/VIII/23 | Jalur Distribusi Solar | FT170
267 | Incinerator | 001/MFG/TK/MT/VII/10 | Gedung Olimpic | -
268 | Dustcollector Water Scrubber | 014/MFG/TK/MT/VII/10 | Belakang Gedung BLP | Kamine
269 | Dustcollector Cyclone 1 | 015/MFG/TK/MT/VII/10 | Bawah Area HVAC Zona 1 & 2 Unit 1 | Kamine
270 | Dustcollector Cyclone 2 | 016/MFG/TK/MT/VII/10 | Bawah Area HVAC Zona 1 & 2 Unit 1 | Kamine
271 | Dustcollector Cyclone 3 | 017/MFG/TK/MT/VII/10 | Unit 3 | -
272 | Genset Kapasitas 1000 KVA | 040/MFG/TK/MT/12 | Gedung Utility | Merk. Kaihua
273 | Genset Kapasitas 1000 KVA | 041/MFG/TK/MT/12 | Gedung Utility | Merk. Kaihua
274 | Boiler Jiangsu Runli 1 | 020/MFG/TK/MT/XII/14 | Gedung Utility | Boiler Jiangsu Runli 1 Ton
275 | Boiler Jiangsu Runli 2 | 021/MFG/TK/MT/XII/14 | Gedung Utility | Boiler Jiangsu Runli 1 Ton
276 | Mesin Bubut (Bench Lathe Machine) | 020/MFG/TK/MT/V/16 | Area Workshop | Krisbow Type KW1500486
277 | Mesin Borfries (Milling, Drilling And Tapping Machine) | 021/MFG/TK/MT/V/16 | Area Workshop | Krisbow Type KW1500046
278 | Ragum | 042/MFG/TK/MT/13 | Area Workshop | Krisbow
279 | Kompressor | 043/MFG/TK/MT/16 | Gedung Utility | Ingersol Rand Kapasitas 100 HP Oil Free, Variable Speed, Model : IRN75K-OF
280 | Forklift Kapasitas 10 Ton | 044/MFG/TK/MT/17 | Departemen Project | Merk. Cheuk's Baoli
281 | Cooling Tower | 023/MFG/TK/MT/VI/17 | Unit 1 | Tower Model LBC 100 Liang Chi
282 | Cooling Tower | 039/MFG/TK/MT/III/19 | Untuk Mesin Blister di Unit 2 Baru | Merk. Liang Hoo LDT 25TR /SET
283 | Mesin Senai | 045/MFG/TK/MT/IV/20 | Utility | Merk. Westlake Pipa Z1T - 50A ( ½ - 2")
284 | Compressor 75 KW / 100 HP Denair Oil Free VSD Compressor | 054/MFG/TK/MT/VIII/22 | Ruang Kompressor | DVWW - 75 Rated Working Pressure : 8 Bar Power Supply : 75 Kw / 100 Hp Airend Brand : GHH
285 | Compressor 75 KW / 100 HP Denair Oil Free VSD Compressor | 055/MFG/TK/MT/VIII/22 | Ruang Kompressor | DVWW - 75 Rated Working Pressure : 8 Bar Power Supply : 75 Kw / 100 Hp Airend Brand : GHH
286 | Flow Meter Solar Uk. 2" | 057/MFG/TK/MT/VII/23 | Utility | S/N 23DFB0082 Merk. Tokico
287 | Flow Meter Solar Uk. 1" | 058/MFG/TK/MT/VIII/23 | Utility | Fill Rite Series 800 Type FR806CL Flowrate 19-75 liter / menit, pressure 3,5 bar, accuracy 2% 3 Digit SN230400308
288 | Flow Meter Solar Uk. 1" | 059/MFG/TK/MT/VIII/23 | Utility | Fill Rite Series 800 Type FR806CL Flowrate 19-75 liter / menit, pressure 3,5 bar, accuracy 2% 3 Digit SN230400314
289 | Flow Meter Solar Uk. 1" | 060/MFG/TK/MT/VIII/23 | Utility | Fill Rite Series 800 Type FR806CL Flowrate 19-75 liter / menit, pressure 3,5 bar, accuracy 2% 3 Digit SN230400315
290 | Nozzle Gun BBM 1" + Flow Meter + Pompa | 061/MFG/TK/MT/IX/23 | Utility
291 | Telescopic Boom Lift | 062/MFG/TK/MT/XI/23 | Engineering | Merk. GP Type GZT68J
292 | Mini Excavator | 063/MFG/TK/MT/XI/23 | Engineering | Type VT40
293 | Scissor Lift | 064/MFG/TK/MT/XI/23 | Engineering | Merk. GP Type GT JZ0810
294 | High Compressor 1 | 105/U.6/PRO/HC.3/11/19 | Ruang Kompressor | SA100
295 | High Compressor 2 | 108/U.6/PRO/HC.2/11/18 | Ruang Kompressor | DGW 6/3
296 | Low Compressor 1 | 082/U.6/PROD/LC.1/11/19 | Ruang Kompressor | SA90
297 | Low Compressor 2 | 083/U.6/PROD/LC.2/11/19 | Ruang Kompressor | SA75
298 | Low Compressor 3 | 104/U.6/PROD/LC.3/11/19 | Ruang Kompressor | DAW 75
299 | Boiler 6 Ton | 101/UTL/PROD/TNK/05/18 | Boiler Area | Hunan 6 Ton
300 | Boiler 10 Ton | 102/UTL/PROD/TNK/10/20 | Boiler Area | 10 Ton